## Slide 1: IceCube Event Reconstruction
Bunheng Ty
16 June 2020
ty@wisc.edu

## Slide 2: Acknowledgement
Many slides adapted from
Event Reconstruction, Bootcamp 2019
Thanks, Tianlu

## Slide 3: IceCube
125 m string spacing
17 m DOM spacing
dense in-fill array
5160 DOMs
Fully operational in 2011
Digital Optical Module (DOM)

## Slide 4: Detection Principles
DOMs detect photons
High energy particles interact with the ice, producing Cherenkov photons

## Slide 5: Detection Principles
DOMs detect photons
Reconstruction:
Piecing information from the DOMs for
energy
direction
topology
High energy particles interact with the ice, producing Cherenkov photons

## Slide 6: From voltage signal to photon counts
“pulse series”
ADC time
ADC counts
DOM raw data (PMT waveform)
Wavedeform
photons
time (ns)
PMT + wavedeform = photon counter

## Slide 7: Wavedeform
Wavedeform Improvements, Jim Braun 2015

## Slide 8: IceCube Event Topologies
CC muon neutrino
NC or CC electron neutrino
CC tau neutrino
track (data)
angular resolution ~ 0.5°
energy resolution ~ x2
shower (data)
angular resolution ~ 10°
energy resolution ~ 15%
“double-bang” (simulation)
~2 expected in 6 years
Notes: Expected taus

## Slide 9: Track vs. Cascade
Line-like emission vs. point-like emission
A track is due to a muon(s).
A cascade can be due to anything:
  Neutrino DIS with a nucleus
  Muon stochastic loss
Only rarely that an IceCube event contains no track. So track reconstruction is important, even if only for the purpose of background rejection.

## Slide 10: Linefit
A relatively simple but robust and fast track reconstruction algorithm
  Minimize sum of square distances, muon to DOMs
  Technically a least square problem, but analytically solvable.
    So just plug in numbers into the formulas

## Slide 11: Challenge: use the whole pulse series
Linefit (and many other algorithms) uses only the first hit time
Ideally, want to use all of the information recorded by the DOMs.
Possible if can solve the photon transport problem:
  Given an arbitrary cascade/track event of , what is the expected on a DOM at position
photons
time (ns)

## Slide 12: Expected photon flux at a DOM
Analytical approximation: Pandel functions
  Probably would work well in water
  Unfortunately, our medium is inhomogeneous ice
  SPEfit, CscdLlh, and some others…
Our modern solution
Monte Carlo simulation: ppc
  (There’s a Wikipedia page on MC photon transport)

## Slide 13: A Track simulation
muons: long paths in the detector → track

## Slide 14: A Cascade Simulation
electrons/hadrons: shower of light → cascade

## Slide 15: Reconstruction
Simulation: 
Reconstruction: 
  A solution: keep simulating different ’s until the resulting expected at all DOMs match well with the data.
            (ideally, to within the statistical, poissonian limit)

## Slide 16: Reconstruction
Direct Fit : reconstruction by running ppc a huge number of times
        Resource intensive, slow, impractical for processing a large set of events
Millipede: similar in spirit, but simulations are precomputed, stored in (and others) lookup tables.
        These tables are known as “photon tables”.
        They contain to all possible ’s
        (not really, E=1GeV only, and grid values for with anything in between to be interpolated)

## Slide 17: Cascade vs track skymap
Uses splines from tabulated distributions
Much better resolution with tracks
Zenith
Azimuth
x Full scan
+ Fast reco

## Slide 18: DirectFit with directional PDFs
(simulated event)

## Slide 19: IceCube Event Topologies
CC muon neutrino
NC or CC electron neutrino
CC tau neutrino
track (data)
angular resolution ~ 0.5°
energy resolution ~ x2
shower (data)
angular resolution ~ 10°
energy resolution ~ 15%
“double-bang” (simulation)
~2 expected in 6 years
Notes: Expected taus

## Slide 20: Ice Model Uncertainties
Our most sophisticated reconstructions rely directly on our simulations, which can vary greatly with the Ice model.
Our ice model is a work in progress, getting better with time.
 Cascade directional reconstruction limited by our simulation model

## Slide 21
Notes: Diameter of full moon is 0.5 degrees

## Slide 22
Updated ice
Ice affects cascade reconstruction
Notes: Diameter of full moon is 0.5 degrees

## Slide 23: Local effects
Hole-ice
Refrozen central column with high scattering
DOM orientation
Thick, support cable may impede direct photons if vertex is nearby
A few DOMs may not be perfectly horizontal
Looking up the string
Central region with bubbles
Clear ice

## Slide 24: Summary and Future Outlook
IceCube reconstruction is determining event’s energy, direction, topology.
Simple to complicated, depending on how much of the pulse series we want to used.
Full cascade reconstruction is challenging, due to the ice medium.
  It is a miracle that the ice is that clear in the first place.
  Improve the ice model to improve reconstruction
Future (cascade reconstructions): deep neural network
  DNN offers potential direct fit performance, while fast enough to be practical for processing a large data set.