## Slide 1: Cosmic Ray Flux Correlation between McMurdo and Jang Bogo Stations
E. Kittiya,a,* W. Nuntiyakul,a P. Evenson,b A. Saiz,c D. Ruffolo,c S. Ohd and A. Seripienlerte
aChiang Mai University, THAILAND
bUniversity of Delaware, USA
cMahidol University, THAILAND
dChonnam National University, SOUTH KOREA
eNational Astroniomical Research Institute of Thailand (NARIT), THAILAND

## Slide 2
Hajo Drescher, Frankfurt U.
Chart: 
| Electron | Proton | Alpha | Heavier Nu.
Sales | 1 | 90 | 9 | 1
~89% Proton
~1% Electron
~9% α
~1% heavier nuclei
Solar Energetic Particles (SEPs) and Galactic Cosmic Rays (GCRs)

## Slide 3
Hajo Drescher, Frankfurt U.

## Slide 4
Hajo Drescher, Frankfurt U.
Chart: 
| Electron | Proton | Alpha | Heavier Nu.
Sales | 1 | 90 | 9 | 1
~89% Proton
~1% Electron
~9% α
~1% heavier nuclei
Solar Energetic Particles (SEPs) and Galactic Cosmic Rays (GCRs)

## Slide 5
Moderator (polyethylene)
n + 10B  7Li + 4He
Producer (Pb)
Reflector
(polyethylene)
(Secondary) Neutrons
Tube
Alignment
Piece (wood)
Neutron counter (10BF3)
courtesy: Nuntiyakul et al.
Figure 3 Standard Neutron Monitor

## Slide 6
Jang Bogo
Geographic 74°37′26″S 164°13′44″E
Geomagnetic 78°58.8′S 72°22.8′E
McMurdo
Geographic 77°50′47″S 166°40′06″E
Geomagnetic 77°3′S 85°18′E

## Slide 7: McMurdo and Jang Bogo stations
Figure 2 Bird-eye view of Jang Bogo Station
(courtesy: KOPRI)
Figure 1 Bird-eye view of McMurdo Station (courtesy: nmdb database)

## Slide 8: McMurdo and Jang Bogo stations
Figure 5 6-1 counter tubes located at Jang Bogo during December 2015 to October 2016
Figure 4 12-1 counter tubes located at McMurdo during December 2015 to October 2016
x 6-1
x 18
x 12-1
Data during December 2015 to October 2016 has been analyzed in this work!
Notes: In McMurdo station there was orginally 18 detectors. 6 of them was moved to Jang Bogo. We retrieve data obtained during December 2015 and October 2016. At that time one of the tube in McMurdo and Jang bogo is broken

## Slide 9: Count
The number of neutrons interacting in the NM’s proportional tube
The energy of secondary neutrons relates to the counting rate.
Solar activity
  Coronal Mass Ejection (CME)  Forbush Decrease (FD)
  Solar Eruption  Ground Level Enhancement (GLE)
Asymptotic Direction
Detector relative position
Other effects such as pressure, etc.

## Slide 10
Nuntiyakul et al.
Relative count at Forbush decrease

## Slide 11: Data correction and cleanup
Uncorrected count ()
Corrected count
day
day
count
Missing data marked as 0 or -1
Corrected count
Corrected count w/o outlier
count
is defined for each stations
Notes: First we corrected the data for pressure using the exponential relation. The missing data marked as 0 or -1 are excluded from the process.

## Slide 12: Whole station count
count (cM)
count (cJ)
McMurdo summed over 11 tubes
Jang Bogo summed over 5 tubes
Find that maximizes
Notes: term is to limit m so that we still have
Here the count is summed over all tube of each station so that the pattern is more apparent
𝑀𝑎𝑥 (|𝜏|) term is to limit m so that we still have 𝑟_𝐽 [𝑚+𝜏]
Here the count is summed over all tube of each station so that the pattern is more apparent

## Slide 13
Time lag (τ, second)
Nuntiyakul et al.
Notes: kink

## Slide 18: Which one?
Introduce variation while keeping the middle value
  By randomly removing data
Inspired by k-fold cross-validation (k=5 in this work)

## Slide 19
excluded data (1/5)
fitting function
(AAA.AA, ZZZ.ZZ)

## Slide 20
excluded data (other 1/5)
fitting function
(BBB.BB, YYY.YY

## Slide 21: 5-fold cross-validation
1/5 removed
other 1/5 removed

## Slide 22: 5-fold cross-validation
CV.STD = cross-validation STD
calculated from 5*iteration values of τ at peak
iteration = 1000

## Slide 23: 5-fold cross-validation

## Slide 24: 5-fold cross validation, 100 chunks
1/5 of chunks removed
other 1/5 of chunks removed

## Slide 25: 5-fold cross validation, 100 chunks

## Slide 26: 5-fold cross validation, 100 chunks

## Slide 27: Tube-tube cross-correlation
correlation peak lag time
= 200000 seconds
local time zero lag

## Slide 28
Thank you

## Slide 29
std = 4461.36 seconds
std = 4766.78 seconds
4766.78
4461.36

## Slide 30
McMurdo vs Jang Bogo
4616.29