## Slide 1: Dome A Wind Turbine
PhD Candidate: Matthew Gerges
Primary supervisor: Michael Ashley
Secondary supervisor: Garth Pearce

## Slide 2: Dome-A
Dome A (Fujia Du - 2015)

## Slide 3: PLATO-A power
Solar modules – another dozen modules were later added by PMO (Zhenxi Zhu - 2008)
Inside of the engine module, showing 6 diesel engines, which run on Jet-A1 fuel. This is the PLATO-F module, it is similar to PLATO- A
(Michael Ashley - 2007)

## Slide 5: Benefits of wind power
Reduced pollution
Reduced maintenance
Increased power

## Slide 6: Issues at Dome A: Environment
Least windy place on earth (average wind speed of 2.5 m/s measured 2 m above the snow)
One of the coldest places on earth (reaching a minimum below of -80º C)
Low pressure ~0.56 atm

## Slide 7: Issues at Dome A: Logistics
Takes 2 weeks to reach it from the coast.
(Xu Zhou and Zhenxi Zhu)
Dimensions of a standard 20-foot shipping container
Maximum crane height at Dome A is 7m

## Slide 8: Turbine constraints
  Nothing longer than 6m
  Able to construct by hand
  Easy to maintain i.e. be able to be lowered
  Reduce complexity to increase reliability
  Function at low temperature
  Run at a low wind speed
  Aiming for 1kW long term average (10kW peak) power output

## Slide 9: Turbine design

## Slide 10
Turbine design
* A gear-box will not be used in our design
*

## Slide 11: Weather data
Weather data provided by KLAWS-2 for Jan 2015 – Sep 2016 (Hu 2018)

## Slide 12: Wind data

## Slide 13: Energy simulation
radius r=6m, density ρ = 0.56 atm, efficiency ϵ = 0.4, Load L = 1kW
Notes: Final efficiency from Betz limit 16/27 = 0.6 and 70% efficiency

## Slide 14: Energy simulation

## Slide 15: Antarctic wind turbines
ANE turbines at Taishan Station (ANE - 2019)
Amundson-Scott South Pole Station, Raum wind turbine
(Besson 2014)

## Slide 16
Erection system
Mid-hinge tower (MESTRON)
Vertical gin pole (ARE telecom)
Conventional gin pole (ARE telecom)

## Slide 17
Erection system
Bergey wind turbine erection (Besson 2014)
Raum wind turbine erection (Besson 2014)

## Slide 18: Bearings

## Slide 19: Generators
Permanent Magnet Synchronous Generator
More poles are better
Bearings must be replaced

## Slide 20: Blade design Rosemary Barnes, UNSW PhD 2016

## Slide 21: Low temperature carbon fibre Alexander Malicki, UNSW 4th year engineering thesis, 2018
Carbon fibre wind turbine
(SITA Composites)
Bending rig render
(Alexander Malicki)
Carbon fibre test specimens
(Alexander Malicki)

## Slide 22: MMC Tower

## Slide 23: MMC Tower

## Slide 24: Tower simulation
Notes: TIA-222-H

## Slide 25: Moving forward
Engage with PRIC to work on these future plans and how we can collaborate
Buy the tower
Buy components for cold testing
Manufacture the custom parts such as nacelle and blades
Assemble tower at UNSW initial testing
Send the tower to Dome A early for testing along with meteorological instruments
Send the turbine to Dome A and see how it performs

## Slide 26: References
Besson, D. Z., Kennedy, D. M., Ratzlaff, K., & Young, R. (2014). Design, modeling and testing of the Askaryan Radio Array South Pole autonomous renewable power stations.Nuclear Instruments and Methods inPhysics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment,763,521–532
Hu, Y., Hu, K., Shang, Z., Ashley, M. C. B., Ma, B., Du, F., Li, Z., Liu, Q., Wang, W., Yang, S., Yu, C., & Zeng, Z.(2018). Meteorological Data from {KLAWS}-2G for an Astronomical Site Survey of Dome A, Antarctica.Publications of the Astronomical Society of the Pacific,131(995), 15001
Ma, B., Shang, Z., Hu, Y., Hu, K., Wang, Y., Yang, X., Ashley, M. C. B., Hickson, P., & Jiang, P. (2020).Night-time measurements of astronomical seeing at Dome A in Antarctica.Nature,583(7818), 771–774
Yi, Z., & Zhongjun, W. (2017). Design and development of infrastructure of the Dome A Kunlun Station.Advances in polar science,28(3), 214–227.

## Slide 27: Also, any good acronym suggestions are appreciated

## Slide 28: Back up slides

## Slide 29: Typical wind speed distribution Weibull

## Slide 30: Weather analysis
  Data from KLAWS-2G from
  1/2015 – 9/2016
  Wind speed and temperature every 2m up to 14m
  Pressure and humidity at 2m
KLAWS - 2G (Xu Zhou and Zhenxi Zhu)

## Slide 31: Antarctic construction and foundations
Amundson-Scott South Pole Station (Levent Demirörs)
Kunlun Station (The Polar Research Institute of China)