## Slide 1: Measurement of the neutrino velocity with the OPERA detector in the CNGS beam
1. Introduction
2. The OPERA detector and the CNGS beam
3. Principle of the time of flight measurement
4. Measurement of the neutrino baseline
5. Data selection
6. Neutrino event timing
7. Data analysis
8. Conclusions
Main Authors : D. Autiero, G. Brunetti
Task force : A. Ereditato, G. Wilquet, H. Pessard, P- Migliozzi, F. Terranova, M. Dracos, J.L.Vuilleumier, M. Komatsu, G. Giacomelli
Internal reviewers: P. Monacelli, H. Shibuya, A. Badertscher, S. Aoki, Y. Gomushkin
arXiv:1109.4897 hep/ex (23/9/2011) : The OPERA Collaboration
G. Giacomelli
University of Bologna and INFN

## Slide 2
    1. INTRODUCTION
In the past :
for En > 30 GeV , short baseline: no deviation down to v-c/c =4 10-5
- MINOS : v-c/c=5.1 +-2.9 10-5
SN1987A : En = 10 MeV : limit v-c/c=2.9 10-9
-Method of measurement of the velocity : vn=l/TOF [+corrections]
Precise measurement of the CERN-OPERA distance l by geodesy to 20 cm
“ “ TOF via GPS synchronzed atomic clocks+……
2.1 OPERA
The hybrid OPERA detector at LNGS is composed of two identical Super Modules each consisting of an instrumented target section with a mass of 625 t followed by a magnetic muon spectrometer. Each target section is a succession of walls filled with high spatial resolution emulsion/lead units interleaved with pairs of 6.7 × 6.7 m2 planes of 256 horizontal and vertical scintillator strips composing the Target Tracker (TT). The TT allows the localisation of neutrino interactions in the target and is used to measure the interaction time of neutrinos .
2.2 CNGS
Protons ejected from the SPS: 2 extractions, each of 10.5 ms, spaced by 50 ms.

## Slide 3
31 target planes / supermodule (in total: 150000 bricks, 1350 tons)

Targets
Magnetic Spectrometers
SM1
SM2
The OPERA hybrid detector
Old slide

## Slide 4
Target area
Muon spectrometer
SM1
SM2
SM1
SM2
A. Ereditato - CERN - 4 June 2010
Side photograph of OPERA

## Slide 5
Artistic view of the SPS/CNGS layout.
400 GeV protons

## Slide 6
Details of the CNGS beam line.

## Slide 7: 3. Neutrino TOF measurement
The time of flight of CNGS neutrinos (TOFn) cannot be precisely measured at the single interaction level since any proton in the 10.5 ms extraction time may produce the neutrino detected in OPERA. However, by measuring the time distributions of protons for each extraction for which neutrino interactions are seen in the detector, and summing them together, after proper normalisation one obtains a probability density function (PDF). It is a good prediction of the time distribution of neutrinos that can be compared with the time distribution of their interactions detected in OPERA in order to measure TOFn. The deviation dt from the transit time assuming neutrinos travelling at the speed of light is determined by performing a likelihood maximization of the time tags of the OPERA events with respect to the PDF as a function of dt.
400 GeV Protons measured by a Beam Current Transformer (BCT)
Full FLUKA based simulation of the CNGS secondary beam.
Precise identical GPS receivers and Cs clocks at CERN and LNGS.
Intercalibrated by Swiss METAS and permanently time-linked.
4. Measurement of the neutrino baseline
Precision measurement of CNGS-OPERA distance: 73053461+-20 cm.

## Slide 8: Schematic of the CERN/CNGS timing system

## Slide 9: Schematic of the time of flight measurement

## Slide 10: Schematic of the OPERA timing system at LNGS

## Slide 11: 5. Data selection. 6. Neutrino timing
Data from 2009+2010+2011 runs: 7586 Internal(CC+NC) +8525 external events
In OPERA the time of a n interaction is that of the earliest hit in TT ( checked)
The synchronisation of the two timing systems at CERN and OPERA was calibrated by the German Metrology Institute PTB by taking data at CERN and LNGS with a portable time-transfer device.
7. Data analysis
A separate likelihood maximisation procedure was carried out for each extraction. The likelihood function to be maximised for each extraction is a function of the single variable dt to be added to the time tags tj of the OPERA events. These are expressed in the time reference of the proton waveform digitizer assuming neutrinos travelling at the speed of light, such that their distribution best coincide with the corresponding PDF:
the likelihood probability is defined by :
Lk(dtk) =Pj wk (tj+dk)

## Slide 12: Time Selection of Beam Events
GPS
TCERN = Time Stamp SPS extraction
TOPERA = Event TimeStamp
Tflight = 2.44 msec
TOPERA - (TCERN + Tflight) < ∆TGate
GPS Time Stamp resolution ~100 ns
< E > | 17 GeV
L | 730 km
( e + e) /  (CC) | 0.87%
 /  (CC) | 2.1%
 prompt | negligible

## Slide 13
Monitoring of the PolaRx2e GPS antenna position, showing the slow earth crust drift and the fault displacement of the 2009 earthquake in the LNGS region.

## Slide 14
Waveforms of the OPERA neutrino events corresponding to the two SPS extractions for the 2009, 2010 and 2011 data samples.

## Slide 15
Results of the likelihood maximization corresponding to the two SPS extractions for the 2009, 2010 and 2011 data .
The likelihood maximization procedure was checked with a Monte Carlo simulation.

## Slide 16: Wave Form Digitizers
Comparison between the data distributions and the PDF for the two SPS extractions before and after applying corrections for dt resulting from the likelihood maximization.

## Slide 17
Table 1: Summary of the calibration values assumed in the blind analysis and those corresponding to the final analysis.

## Slide 18
Table 2: Contributions to the overall systematic uncertainty on the measurement of dt.

## Slide 19
The left plot shows the energy dependence of nm CC internal events (for En<20 Gev and En>20 GeV). The errors attributed to the two points are statistical in order to make easier their relative comparison since systematic errors cancel out; the systematic error is represented by a band around the zero effect line. The right plot shows the global result of the analysis including both internal and external events (for the latter the energy cannot be measured). The error bar includes statistical and systematic uncertainties added in quadrature.

## Slide 20: 8. Conclusions
dt = (60.7 ± 6.9 (stat.) ± 7.4 (sys.)) ns at <En>=17 GeV
significance 6.0 s (stat + sys added in quadrature)
(v-c)/c = dt /(TOFc - dt) = (2.48 ± 0.28 (stat.) ± 0.30 (sys.)) ×10-5
No energy dependence in our range of energies
“Despite the large significance of the measurement reported here and the stability of the analysis, the potentially great impact of the result motivates the continuation of our studies in order to investigate possible still unknown systematic effects that could explain the observed anomaly. We deliberately do not attempt any theoretical or phenomenological interpretation of the results.”