## Slide 1: DarkSide: A Background-Free Search for WIMP Dark Matter
Andrew Renshaw
University of Houston
IceCube Particle Astrophysics Symposium
WIPAC Madison, Wisconsin
May 8th, 2017

## Slide 2: The DarkSide Program
Direct detection search for WIMP dark matter
Two-phase liquid argon time projection chamber (TPC) technology
Design philosophy based on having very low background levels that can be further reduced through active suppression, for background-free operation
Multi-stage program at Gran Sasso National Laboratory
DarkSide-10
  10 kg full prototype
DarkSide-50
  First physics detector: 50 kg, physics goal ~ 10-45 cm2 for 100 GeV WIMP
  O(.01 tonne year) exposure
DarkSide-20k
  20 tonne fiducial volume, scalable detector: physics goal < 10-47 cm2 for 100 GeV WIMP (approved by INFN in April 2017)
Multi-hundred tonne detector to reach the neutrino floor
  Will also observe and provide further insight to solar neutrinos

## Slide 3: The Darkside-50 Detectors
Rn-free clean room
(10-15 mBq/m3 in 110 m3)
Water Cherenkov muon veto:
1 kton H2O
Boron-loaded liquid scintillator
~30 ton (50% TMB + 50% PC)
Two-Phase LAr TPC
50 kg active volume
10 m
4 m
11 m

## Slide 4: Why Liquid Argon (LAr)
Efficient Scintillator
  40 photons/keVee @ 128 nm
  Transparent to own scintillation light
High ionization yield
  W ~ 10-20 eV with a high electron mobility
  Further background discrimination with S2/S1 (factor of ~102)
Powerful PSD in the scintillation signal
  Separate ER background from the WIMP induced NR signal
  Rejection factor of >109
Simple cryogenic and gas handling with inline filter
  Easily purified to achieve long electron drift lengths

## Slide 5: Darkside-50 TPC
PTFE Cylinder
  h=36 cm, d=36 cm, 46 kg (44 kg fiducial), inner surface is coated with TPB
38 3” Hamamatsu PMTs:
  R11065: 19(top) + 19(bottom)
  Cold amplifier (low PMT HV)
Cathode and anode windows:
  Fused silica w/ ITO transparent layers (15 nm) & TPB
Field shaping copper rings:
  Uniform electric field: Edrift=220 V/cm Egas= 2.8kV/cm
Fused silica diving bell
  Gas pocket holding for S2 signal
LAr active volume
E field

## Slide 6: S1 Signal
e,γ
χ,n

## Slide 7: S1 Signal
S1
Field shaping rings keep uniform 200 V/cm drift field
S1:
6ns & 1.6μs
Scinitllation: S1
Ionization: e-

## Slide 8: S2 Signal
Extraction Field = ~3 kV/cm
S1
S2
Scinitllation: S1
Ionization: e-
Electro-luminescence: S2

## Slide 9: Backgrounds
Internal radioactivity
Gamma Rays
Cosmic muons
Radiogenic neutrons
Fast neutrons
α,β
μ
n, p, γ
γ
n
n

## Slide 10: Background Mitigation Strategy
LNGS: Deep underground site to shield cosmic rays
Screening and selection of detector materials
Two-phase Ar TPC: 3D-TPC fiducialization; S1 PSD, S2/S1 cut
Active boron-loaded liquid scintillator neutron veto
Water Cherenkov veto for muon detection and shielding
Underground argon (UAr) with reduced 39Ar

## Slide 11: Pulse Shape Discrimination with S1
Singlet and triplet fraction difference
gives >109 rejection between NR and ER

## Slide 12: 2-Phase TPC
S1
S2
The drift time gives the z-position with mm precision
Top ArrayPMT light fractions for S2 give x,y location

## Slide 13: Calibration System

## Slide 14: Veto Detectors
Water Cherenkov Veto
  Muon flux reduced by 106 (>99% efficient)
  80 PMTs, 11 m diameter x 10 m high
  Detect the Cerenkov light produced by the muons and other showering particles
  Provides passive gamma and neutron shielding
Liquid Scintillator Veto
  4 m boron-loaded liquid scintillator (PC:TMB)
  110 8” PMTs
  Efficiently detect escaping neutrons and veto any associated nuclear recoil backgrounds
    >99% efficiency for neutrons
  Provide in situ measurement of the neutron background rate

## Slide 15: Underground Argon (UAr)
40Ar(n,2n)39Ar occurs in the atmosphere
Argon that has remained underground can therefore have extremely low levels of 39Ar
DS-50 UAr fill measured the 39Ar reduction factor: >103!!

## Slide 16: 1422 kg day AAr exposure
50-days of data

## Slide 17: 2616 kg day UAr exposure
70-days of data

## Slide 18: 2616 kg day UAr exposure
70-days of data
With S2 cuts applied

## Slide 19: Summary of Darkside-50
In operation with atmospheric argon since Oct 2013, underground argon since April 2015
Cryogenics and gas handling system very stable
TPC HV system stable for years
LY @ null field ~8 pe/keVee
1422 kg-days AAr + 2616 kg-days UAr
No remaining background in WIMP search region!!!
Blind analysis now ongoing  Results expected this summer

## Slide 20: Darkside-20k: A United Front
Brings together all existing LAr dark collaborations
  DarkSide-50
  DEAP-3600
  ArDM
  miniCLEAN
20 tonne fiducial volume
Underground argon
Silicon photomulitipliers

## Slide 21: Darkside-20k: Large Area SiPMs
SiPMs for improved performance
  45% PDE requirement met
  0.1 Hz/mm2 requirement met and surpassed
SiPM tiles assembled into photodetector modules
  5 cm x 5 cm tiles tested and meet specifications
~14 m2 of SiPMs total

## Slide 22: DarkSide-20k: UAr
The Urania project will procure 50 tonnes of UAr from same Colorado source as for DS-50
Will extract 100 kg/day, with 99.9% purity
UAr will be transported to Sardinia for final chemical purification at Aria
The Aria project will make the final chemical purification of the UAr
Can process O(1 tonne/day) with 103 reduction of all chemical impurities
Ultimate goal is to isotopically separate 39Ar from 40Ar

## Slide 23: Projected Sensitivities

## Slide 24: Thank You!